## Instructions
© 2014 Microsoft Corporation. All rights reserved. To send feedback about this documentation, please write to us at lyncdoc2013@microsoft.com.
Complete these checklists to record operations activities. You can modify these checklists based on the organization's requirements.

## Daily
Prepared by: Date:
Task |  |  |  | Completed
Environmental
Verify that environmental conditions are tracked and maintained.
Note any known variations in temperature out of the desired range.
Verify that physical security measures such as locks, dongles, and access codes have not been breached, and that they function correctly.
Make sure that the physical network and related hardware such as routers, switches, hubs, physical cables, and connectors are operational.
Backups
Make sure that the recommended daily online data backup is completed.
Make sure that the recommended daily online configuration file backup is completed.
Backup the Lync Server topology to an XML file using Lync Server Topology Builder.
Backup all data shares housing content and metadata.
Backup all SQL back-end databases.
Follow the established procedure for long-term storage rotation, labeling, and archiving.
Verify that the transaction logs were successfully purged (if the backup type purges).
Make sure that backups meet SLA standards.
Disk Usage
Drive Letter | Drives with transaction logs | Available space (MB) | Available % free
Drive Letter | Drives with queues | Available space (MB) | Available % free
Drive Letter | Other drives | Available space (MB) | Available % free
Task |  |  |  | Completed
Event Logs
Filter application and system logs on the Lync Server 2013 server to see all errors.
Filter application and system logs on the Lync Server 2013 server to see all warnings.
Note repetitive warnings and errors in the logs.
Respond to discovered failures and issues.
Use Analyze Log Files to view the log files In the Lync Server 2013 Logging Tool.
Lync Server Performance
Results of Processor\% Processor Time: __________________________
Results of the SQL Server performance counters:
LC:USrv – 00 – DBStore\Usrv – 002 – Queue Latency (msec) _____________
LC:USrv – 00 – DBStore\Usrv – 0 04– Sproc Latency (msec) _____________
Results of: LC:SIP - 07 - Load Management\SIP - 000 - Average Holding Time For Incoming Messages
__________________
Results of the SQL Back End Server counter
SQL Server Buffer Manager\Page life expectancy __________________
Results of the front-end server counters:
LC:USrv-00-DBStore\Usrv-002-Queue Latency (msec) _________________________
LC:USrv-00-DBStore\Usrv-004-Sproc Latency (msec) _________________________
Was further investigation needed? Y / N
Operating System
Use Windows Reliability and Performance Monitor to check Windows Server 2008 or 2012 operating system.
Use Performance Console Tools (System Monitor, Performance Logs and Alerts and Task Manager) to check Windows Server 2003/2003 R2 operating systems.
Central Management Store Replication Status
Verify that the Get-CsManagementStoreReplicationStatus cmdlet indicates that the replication status for the servers is up to date.
Network Performance
Consult with network administrators to determine whether there are or were network outages such as WAN link failures, equipment failure, recently identified performance bottlenecks, or scheduled outages due to hardware or software updates.
Consult the network administrators to obtain network usage reports for SIP, A/V, and Web Conferencing traffic.
Use System Center Operations Manager to view the network performance of individual Lync Server 2013 servers – such as servers hosting MCU’s to determine whether the network adaptor is a performance bottleneck.
Use Network Monitor to capture network statistics where required.
Task |  |  |  | Completed
Viruses and Virus Definitions
Scan for viruses and check virus definition updates. When scanning for viruses, exclude drives that are specifically for Lync Server 2013.
Monitoring Server Reports
Verify that following reports are viewed and checked:
· QoE Summary/Trend Reports
o UC-to-UC Summary/Trend Report
o PSTN Summary/Trend Report
o Conference Summary/Trend Report
· QoE Performance Reports
o Mediation Server Performance Report
o A/V Conferencing Server Performance Report
o Location based Performance Report
Voice Number Normalization and Routing
Use Lync Server Control Panel to run voice routing tests.
Address Book
Verify a user can access the server that hosts the Address Book Download Web service by running the Test-CsAddressBookService cmdlet.
Verify a user can search for, and return, information from the Address Book by running the Test-CsAddressBookWebQuery cmdlet.
Pool Status
Using the Lync Control panel, check status of all servers in the Topology.
Lync Server 2013 Back End Storage Checks
Performance Counter |  | Value
Transactions/sec (RTC)
Transactions/sec (rtcdyn)
Transactions/sec (tempdb)
Log Flushes/sec (RTC)
Log Flushes/sec (rtcdyn)
Log Flushes/sec (tempdb)
Disk Transfers/sec (read+write) - RTC db
Disk Transfers/sec - RTC log
Disk Transfers/sec - rtcdyn db
Disk Transfers/sec - rtcdyn log
Task |  |  |  | Completed
Group Chat
Use the stress test table metrics to verify your Group Chat Servers are running at optimal health.
DNS Settings/ DNS Load Balancing
Verify that DNS is returning the correct values for DNS load balancing.
Synthetic Transactions
Validate Audio Conferences by running Test-CsAVConference
Validate Lync client Authentication by running Test-CsClientAuth
Validate Lync Server Services by running Test-CsComputer
Validate ability to connect to a federated domain by running Test-CsFederatedPartner
Validate Ability to employ group expansion by running Test-CsGroupExpansion
Validate ability to do group instant messaging by running Test-CsGroupIM
Validate instant messaging between two users by running Test-CsIM
Validate configuration of Kerberos Account assigned to a site by running Test-CsKerberosAccountAssignment
Validate peer to peer audio/video call by running Test-CsP2PAV
Validate user logon ability by running Test-CsRegistration
Validate user presence publishing and subscribing by running Test-CsPresence
Validate Lync service activation and group permissions by running Test-CsTopology
Validate Dial-In-Conferencing session by running Test-CsDialInConferencing
Validate Dial Plan by running Test-CsDialPlan
Validate Civic Address against master street address by running Test-CsLisCivicAddress
Validate your ability to contact the LIS web service by running Test-CsLisConfguration
Validate that a location policy has been assigned to a user by running Test-CsLocationPolicy
Validate Lync Phone Edition Login by running Test-CsPhoneBootstrap
Validate PSTN phone call by running Test-CsPstnOutboundCall
Validate PSTN peer to peer call by running Test-CsPstnPeerToPeerCall